## Water discharge
EPA Licence #1048
Sampling Point 11..
Pollutant | Biological Oxygen Demand | pH | Total Suspended Solids | Oil and Grease | Publishing date | Totaliser Start / Finish
Licence Limit | 20 | 6.5 - 8.5 | 30 | 10 |  | Values ( L )
Unit of Measure | g/l | pH unit | g/l | g/l
Monitoring frequency | One sample per discharge event (maximum of 2 per month)
2018-01-01 | No discharge
2018-02-01 | No discharge
2018-03-01 | No discharge
2018-04-01 | No discharge
2018-05-01 | No discharge
2018-06-29 | <2 | 6.94 | 8 | <5 | 2018-07-13 | 167860 / 318631
2018-07-01 | No discharge
2018-08-29 | <5 | 7.2 | 10 | <5 | 2018-09-05 | 318631 / 376589
2018-09-01 | No discharge
2018-10-01 | No discharge
2018-11-01 | No discharge
2018-12-16 | <5 | 6.95 | 9 | <4 | 2018-12-20 | 376589 / 741636
2019-01-01 | No discharge
2019-02-01 | No discharge
2019-03-21 | <5 | 6.8 | <5 | <5 | 2019-04-01 | 741636 / 1226757
2019-04-01 | No discharge
2019-05-01 | No discharge
2019-06-01 | <5 | 7 | <5 | <5 | 2019-06-26 | 1226757 / 1338453
2019-07-01 | No discharge
2019-08-01 | No discharge
2019-09-01 | No discharge
2019-10-01 | No discharge
2019-11-01 | No discharge
2019-12-01 | No discharge
2020-01-01 | No discharge
2020-02-09 | <5 | 7.2 | 6 | <5 | 2020-02-15 | 1338453 / 1417199
2020-03-01 | No Discharge
2020-04-01 | No discharge
2020-05-26 | <5 | 7.3 | <5 | <5 |  | 1417199 / 1623831
2020-06-01 | No Discharge
2020-07-17 | <5 | 7.6 | 5 | <5 |  | 1623831 / 1806401
2020-07-28 | <5 | 7.8 | <5 | <5 |  | 1806401 / 2812724
2020-08-01 | No Discharge
2020-09-01 | No Discharge
2020-10-01 | No Discharge
2020-11-03 | <5 | 7.4 | 6 | <5 |  | 2812724 / 2952108
Dec 20 | No Discharge |  |  |  |  | (Totaliser screen replaced)
Jan 21 | No Discharge
Feb 21 | No Discharge
2021-03-23 | <5 | 6.9 | 10 | <5 |  | 129 / 988180
2021-08-18 | <5 | 7.7 | 6 | <5 |  | 988180 / 1000775
2021-08-25 | <5 | 7.8 | <5 | <5 |  | 1000775 / 1364451
Sept 2021 | No discharge
Oct 2021 | No discharge
Nov 2021 | No discharge
2021-12-01 | <5 | 7 | <5 | 9 |  | 1364451 / 1558683
2022-01-01 | No discharge
2022-02-01 | <5 | 6.9 | <5 | <5 |  | 1558683 / (continuing)
2022-03-01 | <5 | 6.9 | <5 | <5 |  | / 8682470
2022-04-01 | <5 | 6.8 | 8 | <5 |  | 8682470 / 10145453
2022-05-25 | <5 | 7.4 | <5 | <5 |  | 10145653 / 1068909
2022-06-01 | No discharge
2022-07-01 | <5 | 7.3 | 14 | <5 |  | 1068909 / 12660995
2022-08-01 | No discharge
2022-09-01 | No discharge
2022-10-01 | <5 | 7.2 | <5 | <5 |  | 12660995 / 13227053
2022-10-01 | 6 | 7.6 | <5 | <5 |  | 13227053 / 13489368
2022-11-01 | No discharge
2022-12-01 | No discharge
2023-01-01 | No discharge
2023-02-14 | 13 | 7.4 | 7 | <5 |  | 13489368 / 135715041
2023-02-23 | 15 | 7.4 | <5 | <5 |  | 135715041 / 13885072
2023-03-01 | No discharge
2023-04-01 | No discharge
2023-05-01 | No discharge
2023-06-01 | No discharge
2023-07-25 | <5 | 8.1 | 19 | <5 |  | 13885072 / 13935303
2023-08-01 | No discharge
2023-09-01 | No discharge
2023-10-01 | No discharge
2023-11-01 | No discharge
2023-12-01 | No discharge
2024-01-01 | No discharge
2024-02-08 | 36 | 7.5 | 5 | <5 |  | 13937801 / 13943940
2024-03-01 | No discharge
2024-04-11 | <5 | 7.8 | <5 | <5